Approved by the order of the Chairman of "Azerbaijan Caspian Shipping" Closed Joint Stock Company dated 1st of December 2016, No. 216.



**AZERBAIJAN CASPIAN SHIPPING CLOSED JOINT STOCK COMPANY**

**IS ANNOUNCING OPEN BIDDING FOR THE PROCUREMENT OF VARIOUS ELECTRICAL GOODS FOR STRUCTURAL DEPARTMENTS OF ASCO**

 **B I D D I N G No. AM101/2023**

|  |  |
| --- | --- |
|  | **Submission documentation required for participation in the bidding:*** Application for participation in the bidding (template has been attached hereto) ;
* Bank evidence as a proof of participation fee;
* Bidding offer:
* Bank document confirming financial condition of the consignor within the last year (or within the period of operation if less than one year);
* Statement issued by the relevant tax authorities on the absence of expired commitments associated with taxes and other compulsory payments and failure of obligations set forth in the Tax Code of the Republic of Azerbaijan for the last one year (excluding the period of suspension).

At the initial stage, application for participation in the bidding ( signed and stamped ) and bank evidence proving payment of participation fee (excluding bidding offer) shall be submitted in English, Russian or in Azerbaijani languages to the official address of "Azerbaijan Caspian Shipping" CJSC (hereinafter referred to as "ASCO" or "Procuring Organization") through email address of contact person in charge by **17.00** (Baku time) on **24.08.2023**. Whereas, other necessary documents shall be submitted as enclosed in the bidding offer envelope.   Description (list) of goods, works or services has been attached hereto.  |
|  | **The participation fee and Collection of General Terms and Conditions:*** Any participant (bidder), who desires to participate in the bidding, shall pay for participation fee stated below *(the payment order shall necessarily state the name of the organization holding open bidding and the subject of the bidding)* and shall submit the evidence as a proof of payment to ASCO not later than the date stipulated in section one. All participants (bidders), who have fulfilled these requirements, may obtain General Terms and Conditions relating to the procurement subject from the contact person in charge by the date envisaged in section IV of this announcement at any time from 08.00 till 17.00 in any business day of the week.
* Participation fee amount (VAT exclusive):
* **Not applicable for LOT 1**
* **Not applicable for LOT 2**
* The participation fee may be paid in AZN or equivalent amount thereof in USD or EURO.
* ***Account No. :***

|  |  |  |
| --- | --- | --- |
| AZN | USD | EURO  |
| Name: The International Bank of Azerbaijan ABB- Customer Service DepartmentCode: 805250TAX ID: 9900001881Correspondent account: AZ03NABZ01350100000000002944SWIFT: IBAZAZ2XBeneficiary: AZARB.XAZAR DANIZ GAMICILIYI QSCTAX ID: 1701579951Account No. (AZN): AZ36IBAZ38050019441115341120 | Intermediary Bank: Citibank N.Y, New YorkAcc.36083186, SWIFT: CITIUS33Beneficiary Bank: The International Bank of AzerbaijanIBA- Customer Service DepartmentSWIFT: IBAZAZ2X Nizami str., 67Beneficiary: AZARB.XAZAR DANIZ GAMICILIYI QSCTAX ID: 1701579951Account No.: AZ26IBAZ38150018401115341120 | Intermediary Bank: Commerzbank AG, Frankfurt am MainSWIFT: COBADEFFACC # 400 88 660 3001Beneficiary Bank: The International Bank of Azerbaijan,IBA-Premier Customer ServiceSWIFT: IBAZAZ2X Nizami str., 67Beneficiary: Azerbaijan Caspian Shipping CJSCTAX ID: 1701579951Account No.: AZ06IBAZ38150019781115341120 |

* **Except for circumstances where the bidding is cancelled by ASCO, participation fee shall in no case be refunded!**
 |
|  |  **Security for a bidding offer:** * The bank guarantee is required in the amount of at least 1 (one) % of the bidding offer price. A bank guarantee sample shall be specified in the General Terms and Conditions.
* Bank guarantees shall be submitted as enclosed in the bidding offer envelope along with the bidding offer. Otherwise, the Purchasing Organization shall reserve the right to reject such offer.
* The financial institution that issued the guarantee should be acknowledged in the Republic of Azerbaijan and / or international financial transactions. The purchasing organization shall reserve the right not to accept and reject any unreliable bank guarantee.
* Persons wishing to participate in the bidding and intending to submit another type of warranty (letter of credit, securities, transfer of funds to the special banking account set forth by the Procuring Organization in the bidding documents, deposit and other financial assets) shall request and obtain a consent from ASCO through the contact person reflected in the announcement on the acceptability of such type of warranty.
* A contract performance bond is required in the amount of 5 (five) % of the purchase price.
* For the current procurement operation, the Procuring Organization is expected to make payment only after the goods have been delivered to the warehouse, no advance payment has been intended.

**Contract Performance Term:*** It is provided that the goods to be delivered within 10 days due to emergence of urgent demand for the goods.
 |
|  | **Final deadline date and time for submission of the bidding offer:*** All participants, which have submitted their application for participation in the bidding and bank evidence as a proof of payment of participation fee by the date and time stipulated in section one, and shall submit their bidding offer (one original and two copies) enclosed in sealed envelope to ASCO by **17.00** Baku time on **August 31, 2023**.
* All bidding offer envelopes submitted after the above-mentioned date and time shall be returned unopened.
 |
|  | **Address of the procuring company:**The Azerbaijan Republic, Baku city, AZ1003 (postcode), 2 Mikayil Useynov street, Procurement Committee of ASCO. **Contact persons (coordinating person) in charge:**Emil HasanovSenior procurement specialist at the Procurement Department of ASCOTelephone No.: +99450 422 00 11E-mail: emil.hasanov@asco.az, tender@asco.azSpecialist of the Procurement Department of ASCOAytan Novruzova Telephone No.: extension 1064E-mail: ayten.novruzova@asco.az, tender@asco.az**Contact person on legal issues:**Landline No.: +994 12 4043700 (ext: 1262) Email address: tender@asco.az |
|  | **Date and time assigned for the opening of bidding offer envelopes:**Opening of the envelopes shall take place on **September 1, 2023** at **11.00** Baku time in the address stated in section V of the announcement. Persons wishing to participate in the opening of the envelopes shall submit a document confirming their permission to participate (the relevant power of attorney from the participating legal entity or natural person) and the ID card at least half an hour before the commencement of the bidding. |
|  | **Information on the winner of the bidding :**Information on the winner of the bidding will be posted in the "Announcements" section of the ASCO official website.  |

**(On the participant`s letter head)**

**APPLICATION FOR PARTICIPATION IN**

**THE OPEN BIDDING**

\_\_\_\_\_\_\_\_\_\_\_ city “\_\_”\_\_\_\_\_\_\_20\_

\_\_\_\_\_\_\_\_\_\_\_№

**To the attention of the Chairman of ASCO Procurement Committee**

Mr Jabrail Mahmudlu

We, hereby confirm the intention of [ to state full name of the participant ] to participate in the open bidding No. [ bidding No. shall be inserted by participant ] announced by ASCO in respect of procurement of "\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_" .

Moreover, we confirm that no winding - up or bankruptcy proceeding is being performed or there is no circumstance of cessation of activities or any other circumstance that may impede participation of [ to state full name of the participant ] in the stated bidding.

In addition, we warrant that [ to state full name of the participant ] is not an affiliate of ASCO.

Below-mentioned contact details are available to respond to any question that may emerge in relation to the documents submitted and other issues:

* Contact person in charge:
* Position of the contact person:
* Telephone No.:
* E-mail:

**Attachment:**

1. *Original of the bank evidence as a proof of payment of participation fee – \_\_ page(s).*

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

*(initials of the authorized person) (signature of the authorized person)*

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

 *(position of the authorized person)*

 **STAMP HERE**

 **LIST OF THE GOODS:**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *№* | *Nomination of goods* | *Quantity* | *Measurement unit* | *Requisition* | *Name of structural departments*  |
|  **LOT 1**  |
| 1 | Current gauge clamp Habotest HT208D, 0.1 - 1000 A, 1000 VDC, 750 VAC, 60 MΩ, 100 mF, 1832 °F, 1000 °C, 10 MHz, 24 x 8 x 4.5 cm, IEC61010 | 10 | p c s | 10060619 | Bibiheybat Ship Repair Yard |
| 2 | Tester - Electronic current gauge clamp 1000 V | 10 | p c s | 10060619 | Bibiheybat Ship Repair Yard |
| 3 | Tester - Electronic current gauge clamp 1000 V | 1 | p c s | 10070601 | The Caspian Sea Oil Fleet- Tartarchai |
| 4 | Tester - Electronic current gauge clamp 1000 V | 1 | p c s | 10070528 | The Caspian Sea Oil Fleet - Hakarychai |
| 5 | Multimeter "Tester" 0 - 1000 v DC, NAC 20 A Amp gauge, Voltmeter, 200 x 96 x 57 mm | 1 | p c s | 10069498 | The Caspian Sea Oil Fleet- Tartarchai |
| 6 | Multimeter "Tester" 0 - 1000 v DC, NAC 20 A Amp gauge, Voltmeter, 200 x 96 x 57 mm | 1 | p c s | 10069494 | The Caspian Sea Oil Fleet - Hakarychai |
| 7 | Multimeter "Tester" 0 - 1000 v DC, NAC 20 A Amp gauge, Voltmeter, 200 x 96 x 57 mm | 1 | p c s | 10069401 | The Caspian Sea Oil Fleet - G. Asgerova |
| 8 | Multimeter "Tester" 0 - 1000 v DC, NAC 20 A Amp gauge, Voltmeter, 200 x 96 x 57 mm | 1 | p c s | 10068941 | The Caspian Sea Oil Fleet - "Bakinskaya - 5" |
| 9 | Multimeter "Tester" 0 - 1000 v DC, NAC 20 A Amp gauge, Voltmeter, 200 x 96 x 57 mm | 1 | p c s | 10068315 | The Caspian Sea Oil Fleet - E. Khalikov |
| 10 | Multimeter "Tester" 0 - 1000 v DC, NAC 20 A Amp gauge, Voltmeter, 200 x 96 x 57 mm | 1 | p c s | 10067148 | The Caspian Sea Oil Fleet - "PS - 173" |
| 11 | Multimeter "Tester" 0 - 1000 v DC, NAC 20 A Amp gauge, Voltmeter, 200 x 96 x 57 mm | 1 | p c s | 10067145 | The Caspian Sea Oil Fleet - "PS - 158" |
| 12 | Multimeter "Tester" 0 - 1000 v DC, NAC 20 A Amp gauge, Voltmeter, 200 x 96 x 57 mm | 1 | p c s | 10067143 | The Caspian Sea Oil Fleet - "PS - 153" |
| 13 | Multimeter "Tester" 0 - 1000 v DC, NAC 20 A Amp gauge, Voltmeter, 200 x 96 x 57 mm | 1 | p c s | 10067141 | The Caspian Sea Oil Fleet - PSK 48 |
| 14 | Multimeter "Tester" 0 - 1000 v DC, NAC 20 A Amp gauge, Voltmeter, 200 x 96 x 57 mm | 1 | p c s | 10067138 | The Caspian Sea Oil Fleet - PSK 45 |
| 15 | Multimeter "Tester" 0 - 1000 v DC, NAC 20 A Amp gauge, Voltmeter, 200 x 96 x 57 mm | 1 | p c s | 10067137 | The Caspian Sea Oil Fleet - PSK 40 |
| 16 | Multimeter "Tester" 0 - 1000 v DC, NAC 20 A Amp gauge, Voltmeter, 200 x 96 x 57 mm | 1 | p c s | 10067136 | The Caspian Sea Oil Fleet - PSK 33 |
| 17 | Multimeter "Tester" 0 - 1000 v DC, NAC 20 A Amp gauge, Voltmeter, 200 x 96 x 57 mm | 1 | p c s | 10067135 | The Caspian Sea Oil Fleet - PSK 28 |
| 18 | Multimeter "Tester" 0 - 1000 v DC, NAC 20 A Amp gauge, Voltmeter, 200 x 96 x 57 mm | 1 | p c s | 10062587 | The Marine Transportation Fleet - Ordubad |
| 19 | Multimeter (tester) Fluke-289 True-RMS: -200 / +1090°C, AC / DC - 1000 V, 10 A, 50 MΩ, 999 kHz | 1 | p c s | 10061666 | The Marine Transportation Fleet - President H. Aliyev |
| 20 | Tester Multiple mode power gauge, PAT; Fluke 6500-2 | 2 | p c s | 10060619 | Bibiheybat Ship Repair Yard |
| 21 | Multimeter "Tester" 0 - 1000 v DC, NAC 20 A Amp gauge, Voltmeter, 200 x 96 x 57 mm | 2 | p c s | 10060579 | The Production Services Department |
| 22 | Tester Multiple mode power gauge, PAT; Fluke 6500-2 | 1 | p c s | 10061704 | Marine Transportation Fleet - Z.Aliyeva |
| 23 | Megger "UNIT", 500 - 2500, universal, Battery power 1.5 V, 202 mm x 155 mm x 94 mm. | 1 | p c s | 10070601 | The Caspian Sea Oil Fleet- Tartarchai |
| 24 | Megger "UNIT", 500 - 2500, universal, Battery power 1.5 V, 202 mm x 155 mm x 94 mm. | 1 | p c s | 10070528 | The Caspian Sea Oil Fleet - Hakarychai |
| 25 | Megger "UNIT", 500 - 2500, universal, Battery power 1.5 V, 202 mm x 155 mm x 94 mm. | 1 | p c s | 10069494 | The Caspian Sea Oil Fleet - Hakarychai |
| 26 | Megger 0 - 10000 MΩ, ES0202/2G, 150 x 130 x 200 mm, 120 - 144 RPM, 50 / 60 Hz, 50 - 500 V, 100-1000 V, 250 - 2500 V, ГОСТ 8.409-81 | 3 | p c s | 10060619 | Bibiheybat Ship Repair Yard |
| 27 | Multimeter "Tester" 0 - 1000 v DC, NAC 20 A Amp gauge, Voltmeter, 200 x 96 x 57 mm | 1 | p c s | 10056390 | ASCO Gubadli |
| 28 | Multimeter "Tester" 0 - 1000 v DC, NAC 20 A Amp gauge, Voltmeter, 200 x 96 x 57 mm | 1 | p c s | 10065593 | The Caspian Sea Oil Fleet - PSK 51 |
| 29 | Multimeter "Tester" 0 - 1000 v DC, NAC 20 A Amp gauge, Voltmeter, 200 x 96 x 57 mm | 1 | p c s | 10065636 | The Caspian Sea Oil Fleet |
| 30 | Multimeter "Tester" 0 - 1000 v DC, NAC 20 A Amp gauge, Voltmeter, 200 x 96 x 57 mm | 1 | p c s | 10065649 | Caspian Sea Oil Fleet - "SLV - 363" |
| 31 | Multimeter "Tester" 0 - 1000 v DC, NAC 20 A Amp gauge, Voltmeter, 200 x 96 x 57 mm | 1 | p c s | 10065652 | Caspian Sea Oil Fleet - "SLV 370" |
| 32 | Multimeter "Tester" 0 - 1000 v DC, NAC 20 A Amp gauge, Voltmeter, 200 x 96 x 57 mm | 1 | p c s | 10065654 | Caspian Sea Oil Fleet - "SLV 411" |
| 33 | Multimeter "Tester" 0 - 1000 v DC, NAC 20 A Amp gauge, Voltmeter, 200 x 96 x 57 mm | 1 | p c s | 10065655 | The Caspian Sea Oil Fleet - "Khazar-1" |
| 34 | Multimeter "Tester" 0 - 1000 v DC, NAC 20 A Amp gauge, Voltmeter, 200 x 96 x 57 mm | 1 | p c s | 10065657 | The Caspian Sea Oil Fleet - "Khazar-3" |
| 35 | Multimeter "Tester" 0 - 1000 v DC, NAC 20 A Amp gauge, Voltmeter, 200 x 96 x 57 mm | 1 | p c s | 10065658 | The Caspian Sea Oil Fleet - Bulag |
| 36 | Multimeter "Tester" 0 - 1000 v DC, NAC 20 A Amp gauge, Voltmeter, 200 x 96 x 57 mm | 1 | p c s | 10065656 | The Caspian Sea Oil Fleet - "Khazar-2" |
| 37 | Multimeter "Tester" 0 - 1000 v DC, NAC 20 A Amp gauge, Voltmeter, 200 x 96 x 57 mm | 1 | p c s | 10065592 | The Caspian Sea Oil Fleet - PSK 38 |
| 38 | Multimeter (tester) Fluke-289 True-RMS: -200 / +1090°C, AC / DC - 1000 V, 10 A, 50 MΩ, 999 kHz | 1 | p c s | 10068625 | The Caspian Sea Oil Fleet - "Athlete - 8" |
| 39 | Megger "UNIT", 500 - 2500 universal | 1 | p c s | 10068625 | The Caspian Sea Oil Fleet - "Athlete - 8" |
| 40 | Megger "UNIT", 500 - 2500, universal, Battery power 1.5 V, 202 mm x 155 mm x 94 mm. | 1 | p c s | 10068341 | The Caspian Sea Oil Fleet - Shirvan |
| 41 | Electronic tester 1000 V  | 1 | p c s | 10068308 | The Caspian Sea Oil Fleet - "G. Asgarova" |
| 42 | Current gauge clamp Habotest HT208D, 0.1 - 1000 A, 1000 VDC, 750 VAC, 60 MΩ, 100 mF, 1832 °F, 1000 °C, 10 MHz, 24 x 8 x 4.5 cm, IEC61010 | 1 | p c s | 10062380 | The Marine Transportation Fleet - Dada Gorgood |
| 43 | Current gauge clamp Habotest HT208D, 0.1 - 1000 A, 1000 VDC, 750 VAC, 60 MΩ, 100 mF, 1832 °F, 1000 °C, 10 MHz, 24 x 8 x 4.5 cm, IEC61010 | 1 | p c s | 10062249 | The Marine Transportation Fleet - Shusha |
| 44 | Current gauge clamp Habotest HT208D, 0.1 - 1000 A, 1000 VDC, 750 VAC, 60 MΩ, 100 mF, 1832 °F, 1000 °C, 10 MHz, 24 x 8 x 4.5 cm, IEC61010 | 1 | p c s | 10062036 | Marine Transportation Fleet - Koroghlu |
| 45 | Current gauge clamp Habotest HT208D, 0.1 - 1000 A, 1000 VDC, 750 VAC, 60 MΩ, 100 mF, 1832 °F, 1000 °C, 10 MHz, 24 x 8 x 4.5 cm, IEC61010 | 1 | p c s | 10061905 | The Marine Transportation Fleet - Zangazur |
| 46 | Multimeter "Tester" 0 - 1000 v DC, NAC 20 A Amp gauge, Voltmeter, 200 x 96 x 57 mm | 1 | p c s | 10069841 | The Marine Transportation Fleet - "Academician K. Yusifzadeh" |
| 47 | Hand lantern (complete with charger) | 1 | p c s | 10069764 | The Caspian Sea Oil Fleet - "Khazar-3" |
| 48 | Hand lantern (complete with charger) ASN 15 HD PLUS, Part № 4013674102143, 220 V, 550 Lm, 20 W, 365 x 155 x 130 mm, IP54 | 3 | p c s | 10069841 | The Marine Transportation Fleet - "Academician K. Yusifzadeh" |
| 49 | Hand lantern (complete with charger) | 2 | p c s | 10070144 | The Marine Transportation Fleet - Nakhchivan |
| 50 | Hand lantern KM-2612 "Kamisafe" | 3 | p c s | 10068337 | The Marine Transportation Fleet - "Shah Ismail Khatai" |
| 51 | Hand lantern (complete with charger) ASN 15 HD PLUS, Part № 4013674102143, 220 V, 550 Lm, 20 W, 365 x 155 x 130 mm, IP54 | 1 | p c s | 10067678 | The Marine Transportation Fleet - Azerbaijan |
| 52 | Hand lantern (complete with charger) | 3 | p c s | 10067488 | The Marine Transportation Fleet - "Balakan" |
| 53 | Hand lantern (complete with charger) | 20 | p c s | 10066633 | The Caspian Sea Oil Fleet |
| 54 | Personal Hand lantern Luxnovag, P50, 6000 Lm, LED, 3 modes | 2 | p c s | 10065994 | “Zigh” Ship Repair and Construction Yard |
| 55 | Personal hand lantern Lesko x 71,8000 mAh, 50 W, IP68 | 2 | p c s | 10065994 | “Zigh” Ship Repair and Construction Yard |
| 56 | Hand lantern (complete with charger) | 4 | p c s | 10065241 | ASCO - Sahdag |
| 57 | Hand lantern (complete with charger) ASN 15 HD PLUS, Part № 4013674102143, 220 V, 550 Lm, 20 W, 365 x 155 x 130 mm, IP54 | 2 | p c s | 10065162 | The Marine Transportation Fleet - G. Aslanov |
| 58 | Hand lantern KM-2612 "Kamisafe" | 2 | p c s | 10065117 | The Marine Transportation Fleet - "J. Hashimov" |
| 59 | Hand lantern (complete with charger) | 1 | p c s | 10064686 | "Bibiheybat" Ship Repair Yard |
| 60 | Hand lantern KM-2612 "Kamisafe" | 3 | p c s | 10064253 | The Marine Transportation Fleet - "Gen. Aslanov" |
| 61 | Hand lantern (complete with charger) ASN 15 HD PLUS, Part № 4013674102143, 220 V, 550 Lm, 20 W, 365 x 155 x 130 mm, IP54 | 4 | p c s | 10063630 | The Marine Transportation Fleet - J. Jabbarli |
| 62 | Hand lantern (complete with charger) | 3 | p c s | 10063253 | The Marine Transportation Fleet - G. Aslanov |
| 63 | Hand lantern (complete with charger) | 2 | p c s | 10063027 | The Marine Transportation Fleet - G. Aslanov |
| 64 | Hand lantern TD-T17, 30 W, 2700 Lm | 4 | p c s | 10062994 | “Zigh” Ship Repair and Construction Yard |
| 65 | Hand lantern (complete with charger) ASN 15 HD PLUS, Part № 4013674102143, 220 V, 550 Lm, 20 W, 365 x 155 x 130 mm, IP54 | 2 | p c s | 10062587 | The Marine Transportation Fleet - Ordubad |
| 66 | Hand lantern (complete with charger) | 2 | p c s | 10062231 | The Marine Transportation Fleet - M. Mushvig |
| 67 | Hand lantern KM-2612 "Kamisafe" | 20 | p c s | 10062050 | The Marine Transportation Fleet |
| 68 | Hand lantern (complete with charger) ASN 15 HD PLUS, Part № 4013674102143, 220 V, 550 Lm, 20 W, 365 x 155 x 130 mm, IP54 | 1 | p c s | 10061578 | The Marine Transportation Fleet - Khojavand |
| 69 | Hand lantern (complete with charger) | 2 | p c s | 10061307 | The Marine Transportation Fleet - Azerbaijan |
| 70 | Hand lantern (complete with charger) | 2 | p c s | 10060711 | The Marine Transportation Fleet - G. Aslanov |
| 71 | Led lantern equipped with battery Trofi TA15:6 hours, 40 m, L = 152 mm, D = 58 mm, 48 Lm, IP20 | 3 | p c s | 10060399 | ASCO Shahdag |
| 72 | Hand lantern (complete with charger) | 2 | p c s | 10060133 | The Marine Trasnportation Fleet - Composer F.Amirov |
| 73 | Explosion-proof lantern HPL - 1 | 20 | p c s | 10059898 | The Caspian Sea Oil Fleet |
| 74 | Hand lantern (complete with charger) ASN 15 HD PLUS, Part № 4013674102143, 220 V, 550 Lm, 20 W, 365 x 155 x 130 mm, IP54 | 2 | p c s | 10059813 | The Marine Transportation Fleet - Aghdam |
| 75 | 50W Led flood light White 4000 K  | 20 | p c s | 10068124 | "Bibiheybat" Ship Repair Yard |
| 76 | 50W Led flood light White 4000 K  | 20 | p c s | 10068076 | "Bibiheybat" Ship Repair Yard |
| 77 | Led Flood light 220 v, 50 hz, 200 w | 2 | p c s | 10068070 | The Caspian Sea Oil Fleet - Shirvan |
| 78 | Led Flood light 220 v, 50 hz, 100 w | 60 | p c s | 10061803 | "Bibiheybat" Ship Repair Yard |
| 79 | Led Flood light 220 v, 50 Hz, 500 w | 10 | p c s | 10060579 | The Production Services Department |
| 80 | 50 W Led flood light White 4000 K  | 5 | p c s | 10060502 | The Production Services Department |
| 81 | Led Flood light 220 v, 50 Hz, 500 w | 1 | p c s | 10059716 | The Caspian Sea Oil Fleet - Ulluchai |
| 82 | Signaling fixture 380 v (green) | 4 | p c s | 10070180 | The Marine Transportation Fleet - "J.Mammadguluzadeh" |
| 83 | Signalling fixture ZBV M5 red, 230 / 240 V, 50 / 60 Hz, 14 mA, IP20 | 4 | p c s | 10070180 | The Marine Transportation Fleet - "J.Mammadguluzadeh" |
| 84 | Bulb socket (chuck) for GY16 type bulb, 230 V, 50 Hz, material - ceramic, 5 kW, Max J - 20 A, weight - 0.121 gr, DX - 4208, M - 420 A, T - 25 | 3 | p c s | 10065824 | ASCO Gubadli |
| 85 | Led lighting fixture 200 x 200 mm 220 V, 25 w, | 150 | p c s | 10066383 | The Caspian Sea Oil Fleet - A. Shikhlinski |
| 86 | Led lighting fixture 300 x 300 mm 220 V, 25 w, | 10 | p c s | 10066280 | The Caspian Sea Oil Fleet - Shirvan |
| 87 | Signal fixture bulb AD22 - 22DS 220 V green | 10 | p c s | 10066280 | The Caspian Sea Oil Fleet - Shirvan |
| 88 | Alarm fixture AD22 - DS sound and light alarm, 24 V, DC, Ø 22 mm, green | 50 | p c s | 10064452 | The Caspian Sea Oil Fleet - Vagif Jafarov |
| 89 | Alarm fixture AD22 - DS sound and light alarm, 24 V, DC, 20 mA, Ø22 mm,red | 20 | p c s | 10068625 | The Caspian Sea Oil Fleet - "Athlete - 8" |
| 90 | Alarm bulb LED green 220 V | 100 | p c s | 10066337 | The Caspian Sea Oil Fleet - "Shirvan-3" |
| 91 | LED light (green) AD16 22S 24 V | 50 | p c s | 10066337 | The Caspian Sea Oil Fleet - "Shirvan-3" |
| 92 | Signal bulb; T4,5 24 V 20 mA | 50 | p c s | 10066337 | The Caspian Sea Oil Fleet - "Shirvan-3" |
| 93 | Led lighting fixture (rectangular) 300 x 300 x 13 mm, 25 W, 6500 K, DC 72 V | 30 | p c s | 10069446 | The Caspian Sea Oil Fleet - "G. Asgarova" |
| 94 | Alarm fixture complete with bulb (green) ADY-16DS 220 / 24 v 50 mA | 8 | p c s | 10066765 | The Marine Transportation Fleet - "Mercury-1" |
| 95 | Alarm fixture complete with a bulb (yellow) ADY-16DS 220 / 24 v 50 mA | 5 | p c s | 10066765 | The Marine Transportation Fleet - "Mercury-1" |
| 96 | Alarm fixture (green) SS-64АЕ 28 V, CM28-2,8, 2,8 W, B9S / 14, IP55 | 3 | p c s | 10067020 | The Marine Transportation Fleet - N. Narimanov |
| 97 | Alarm fixture white AD22-22DS, 24 V AC / DC, IP54, 53 mm, Ø22 mm | 2 | p c s | 10067338 | The Marine Transportation Fleet - N. Narimanov |
| 98 | Alarm fixture white AD22-22DS, 24 V AC / DC, IP54, 53 mm, Ø22 mm | 2 | p c s | 10067389 | The Marine Transportation Fleet - N. Narimanov |
| 99 | Alarm fixture (yellow) ADY-16DS, 220 / 24 v | 15 | p c s | 10060946 | The Marine Transportation Fleet - "Mercury-1" |
| 100 | Alarm fixture AD16-22SM 220 V red | 18 | p c s | 10060946 | The Marine Transportation Fleet - "Mercury-1" |
| 101 | Signaling fixture 380 v (red) | 17 | p c s | 10060946 | The Marine Transportation Fleet - "Mercury-1" |
| 102 | Signaling fixture 380 v (red) | 6 | p c s | 10065773 | The Marine Transportation Fleet - "Mercury-1" |
| 103 | Signal lamp CML 388, 28 V, 40 mA, 1,12 W, 5.84 mm | 100 | p c s | 10068067 | The Marine Transportation Fleet - Karabakh |
| 104 | Incandescent signal bulb BA9S, 24 V, 4 W, 50 mA, L = 28 mm | 50 | p c s | 10068067 | The Marine Transportation Fleet - Karabakh |
|  105 | Led Flood light 220 v, 50 Hz, 500 w | 20 | p c s | 10071402 | For The Marine Transportation Fleet Warehouse |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *№* | *Nomination of goods* | *Quantity* | *Measurement unit* | *Requisition* | *Name of structural departments*  |
| **LOT 2** |
| 1 | Overload protection switch Siemens 220 V, 25 A, 2 - phaze | 3 | p c s | 10069410 | The Marine Transportation Fleet - Zangazur |
| 2 | Overload protection switch Siemens 380 V, 40 A, 3 - phases | 3 | p c s | 10069410 | The Marine Transportation Fleet - Zangazur |
| 3 | Magnetic starting unit Siemens 3RT23171AP60, 220 V, AC, 22 А, 50/60 Hz, 4NO | 3 | p c s | 10069410 | The Marine Transportation Fleet - Zangazur |
| 4 | Time relay ENTES MCB - 9 TDR, 24 V AC, 24 V DC, 230 V AC, 0.1sec-30 h | 1 | p c s | 10069410 | The Marine Transportation Fleet - Zangazur |
| 5 | Time relay ENTES MCB-9 TDR, 0.1 sec - 30 s. | 4 | p c s | 10060946 | The Marine Transportation Fleet - "Mercury-1" |
| 6 | Magnetic starter - contact switch 380 V 80 A SIEMENS | 4 | p c s | 10070180 | The Marine Transportation Fleet - "J.Mammadguluzadeh" |
| 7 | Contact switch Telemecanique LC1 D1810M7 230 V. 25 A. 7.5 KW | 1 | p c s | 10070180 | The Marine Transportation Fleet - "J.Mammadguluzadeh" |
| 8 | Relay. TYCO, 10 A, 250 AC, Coil: 24 VAC, RT424524, SCHRACK, code: 1629056, contact material - silver nickel, winding resistance 350 Ohm, VDE standard | 4 | p c s | 10070180 | The Marine Transportation Fleet - "J.Mammadguluzadeh" |
| 9 | Electromagnetic switch SARY, 24 V DC, LY-01A, 4.8 W | 4 | p c s | 10063757 | The Marine Transportation Fleet G. KHALILBAYLI |
| 10 | Automatic voltage regulator AVR R448, Leroy Somer, input 0 - 220 V output 170 - 260 V, input 0 - 380 V output 340 - 520 V, 50 / 60 Hz, | 1 | p c s | 10068782 | The Marine Transportation Fleet - "J. Hashimov" |
| 11 | Thermal relay LR2 D2353 30 - 40 A. | 4 | p c s | 10070469 | The Marine Transportation Fleet - Shaki |
| 12 | Control relay 3RH22441AP00, 220 V, 16 A, 50 / 60 Hz, 4 NO, 4 NC, Part#662643907261 | 2 | p c s | 10062656 | The Marine Transportation Fleet - Balakan |
| 13 | Contact switch SLA 380 V 63 A | 5 | p c s | 10061290 | The Caspian Sea Oil Fleet - G.Asadov |
| 14 | Selector switch ПB3-60 M3, 63 A 220 V, 40 A 380 V, 3-phase, 0N/OFF, IP35 | 3 | p c s | 10070523 | The Caspian Sea Oil Fleet - Bulag |
| 15 | Selector switch ПPM3 - 25 / H2, (0-I-II), 25 A / 220 V, 16 A / 380 V, 3-phase, 2-way, IP35 | 4 | p c s | 10070523 | The Caspian Sea Oil Fleet - Bulag |
| 16 | Selector switch ПB2-60 M3, 63 A - 220 V, (0-I), 40 A - 380 V, 2 phase, 0N/OFF, IP35 | 2 | p c s | 10070523 | The Caspian Sea Oil Fleet - Bulag |
| 17 | Selector switch ППМ2 - 25, (0-1-2), 25 A - 220 V, 16 A - 380 V, 2-phase, 3-way, IP35 | 4 | p c s | 10070511 | The Caspian Sea Oil Fleet - PSK 48 |
| 18 | Selector switch ПB2-60 M3, 63 A - 220 V, (0-I), 40 A - 380 V, 2 phase, 0N/OFF, IP35 | 2 | p c s | 10070511 | The Caspian Sea Oil Fleet - PSK 48 |
| 19 | Selector switch ПB3-100 M3, (0-I), 100 A - 220 V, 63 A - 380 V, 3 phase, IP35 | 3 | p c s | 10070502 | Caspian Sea Oil Fleet - "SLV - 370" |
| 20 | Selector switch ПPM3 - 25 / H2, (0-I-II), 25 A / 220 V, 16 A / 380 V, 3-phase, 2-way, IP35 | 4 | p c s | 10070502 | Caspian Sea Oil Fleet - "SLV - 370" |
| 21 | Selector switch ППМ2 - 25, (0-1-2), 25 A - 220 V, 16 A - 380 V, 2-phase, 3-way, IP35 | 3 | p c s | 10070502 | Caspian Sea Oil Fleet - "SLV - 370" |
| 22 | Contact switch (complete with auxiliary contact) SLA 32; 38 12 50 Hz; 2z+2r (auxiliary contact) | 2 | p c s | 10069446 | The Caspian Sea Oil Fleet - G. Asgerova |
| 23 | Contact switch КПМ-131, 80A, winding = 110 V, DC, 1NO+1NC | 2 | p c s | 10069684 | The Caspian Sea Oil Fleet - Absheronskaya |
| 24 | Automatic tripping circuit breaker 5SQ25,~220 V, 20 A  | 4 | p c s | 10070051 | The Caspian Sea Oil Fleet - PSK 48 |
| 25 | Relay PRC-45 220 V | 20 | p c s | 10066337 | The Caspian Sea Oil Fleet - Shirvan-3 |
| 26 | Relay PRC-45 24 V | 20 | p c s | 10066337 | The Caspian Sea Oil Fleet - Shirvan-3 |
| 27 | Thermal relay Mertik TR653.52 G100-90, dimensions: 145 x 115 x 90 mm, 380 V AC 10 (4) A, 250 V DC 0.4 A | 2 | p c s | 10070599 | The Caspian Sea Oil Fleet - Bakinskaya - 6 |
| 28 | Overload protection switch (MCB) Siemens 380 V, 250 A | 4 | p c s | 10062592 | "Bibiheybat" Ship Repair Yard |
| 29 | Overload protection switch Siemens 380 V, 630 A | 3 | p c s | 10062592 | "Bibiheybat" Ship Repair Yard |
| 30 | Current relay Thytronik NA011 24-230V 50/51 | 2 | p c s | 10066981 | "Bibiheybat" Ship Repair Yard |
| 31 | Overload protection switch Siemens 380 V, 630 A | 1 | p c s | 10069386 | "Bibiheybat" Ship Repair Yard |
| 32 | Overload protection switch Siemens 380 V, 400 A | 2 | p c s | 10069386 | "Bibiheybat" Ship Repair Yard |
| 33 | Overload protection switch Siemens 380 V, 250 A | 2 | p c s | 10069386 | "Bibiheybat" Ship Repair Yard |
| 34 | Magnetic starting unit Siemens, 160A, 3TF50 , 380 V | 3 | p c s | 10069386 | "Bibiheybat" Ship Repair Yard |
| 35 | Magnetic starting unit, 300 A, 3TF54, (SİEMENS)  | 2 | p c s | 10069386 | "Bibiheybat" Ship Repair Yard |
| 36 | Magnetic starting unit 100A 3TF-40 | 3 | p c s | 10069386 | "Bibiheybat" Ship Repair Yard |
| 37 | Magnetic starting unit, 80 A, 3TF46, (Siemens)  | 3 | p c s | 10069386 | "Bibiheybat" Ship Repair Yard |
| 38 | Magnetic starting unit Siemens 55 A, 3TF45 | 3 | p c s | 10069386 | "Bibiheybat" Ship Repair Yard |
| 39 | Coil for magnetic starting unit 160 A  | 4 | p c s | 10069386 | "Bibiheybat" Ship Repair Yard |
| 40 | Automatic main circuit breaker SCHNEIDER A9N1836910KA 3-PHASE C type 125 A | 1 | p c s | 10070138 | "Bibiheybat" Ship Repair Yard |
| 41 | Automatic main circuit breaker SCHNEIDER EZ9F433633KA 3-PHASE C type 63 A | 1 | p c s | 10070138 | "Bibiheybat" Ship Repair Yard |
| 42 | Power switch A3134, 220 - 500 V, 50 Hz, 200 A | 2 | p c s | 10061395 | "Bibiheybat" Ship Repair Yard |
| 43 | Power fuse ESKA 525.220. 2A, 250 V AC, 5 x 250 mm, tripping I = 80 A, Code TME: ZKMD-2A, type: glass, gross weight 1.162 gr | 50 | p c s | 10065956 | ASCO Gubadli |
| 44 | Fuse ESKA 25 x 5 mm,(L x Ø ) 1 A, 250 V, Glass tube, transparent, speed - F, DIN 41576 - 1 EN 60068 - 2 - 20. | 30 | p c s | 10065623 | ASCO Gubadli |
| 45 | Fuse ESKA 25 x 5 mm,(L x Ø ) 6,3 A, 250 V, Glass tube, transparent, speed - F, DIN 41576 - 1 EN 60068 - 2 - 20. | 20 | p c s | 10065623 | ASCO Gubadli |
| 46 | Fuse SIBA 5 x 25 mm (Ø x L), 4A, 250V, Ceramic, Serial GZ, Fuse speed F. | 20 | p c s | 10065623 | ASCO Gubadli |
| 47 | Fuse ESKA 25 x 5 mm,(L x Ø ) 3,15 A , 250 V, Glass tube, transparent, speed - F, DIN 41576 - 1 EN 60068 - 2 - 20.  | 20 | p c s | 10065623 | ASCO Gubadli |
| 48 | Power fuse Btp 1000 V 250 A | 24 | p c s | 10068715 | Caspian Sea Oil Fleet - A.Karimov |
| 49 | Power fuse BTR 500 V 250 A | 20 | p c s | 10068625 | The Caspian Sea Oil Fleet - Athlete-8 |
| 50 | Power fuse ВП1-1, 250 V AC, 1 A, 15 mm, Ø 4 mm | 11 | p c s | 10067020 | The Marine Transportation Fleet - N. Narimanov |
| 51 | Power fuse ВП1-1, 250 V AC, 5 A, 15 mm, Ø 15 mm | 13 | p c s | 10067020 | The Marine Transportation Fleet - N. Narimanov |
| 52 | Power fuse ПДС-2, 380 V AC, 16 A | 1 | p c s | 10067020 | The Marine Transportation Fleet - N. Narimanov |
| 53 | Power fuse ПК-30, 250 V AC, 0.15 A, 30 mm, Ø7 mm | 4 | p c s | 10067020 | The Marine Transportation Fleet - N. Narimanov |
| 54 | Fuse holder ДПК1-2 600 V, 0.25 - 5 А, Ø 7 × 45 mm | 2 | p c s | 10067020 | The Marine Transportation Fleet - N. Narimanov |
| 55 | Power fuse ETI NH1, 500 V AC, 160 A, 120 kA | 5 | p c s | 10065957 | The Marine Transportation Fleet - "Mercury-1" |
| 56 | Power fuse EATON 200NHG1B, 500 V AC, 250 V DC, 200 A, 120 kA | 5 | p c s | 10065957 | The Marine Transportation Fleet - "Mercury-1" |
| 57 | End limit circuit breaker YFC-E13Z11, 500 / 250 V | 8 | p c s | 10065773 | The Marine Transportation Fleet - "Mercury-1" |
| 58 | Power fuse 500 V 10 A (barrel shaped) | 10 | p c s | 10061704 | The Marine Transportation Fleet - Zarifa Aliyeva |
| 59 | Power fuse 500 V 16 A (barrel shaped) | 10 | p c s | 10061704 | The Marine Transportation Fleet - Zarifa Aliyeva |
| 60 | Power fuse 500 V 20 A (barrel shaped) | 10 | p c s | 10061704 | The Marine Transportation Fleet - Zarifa Aliyeva |
| 61 | Power fuse WT - 1/T 100 A, 500 V, Apena | 5 | p c s | 10065315 | The Marine Transportation Fleet - "Mercury-1" |
| 62 | Power fuse WT - 1/T 63 A, 500 V, 003343 Apena | 5 | p c s | 10065315 | The Marine Transportation Fleet - "Mercury-1" |
| 63 | Power fuse WT - 1/T 100 A, 500 V, Apena | 22 | p c s | 10063757 | The Marine Transportation Fleet - G. Khalilbayli |
| 64 | Power fuse WT - 1/T 63 A, 500 V, 003343 Apena | 6 | p c s | 10063757 | The Marine Transportation Fleet - G. Khalilbayli |
| 65 | Fine wire fuse T1AL250V, 250 V, 1 A, 5 x 20 mm | 40 | p c s | 10069888 | The Marine Transportation Fleet - "J. Hashimov" |
| 66 | Fine wire fuse T5AL250V, 250 V, 5 A, 5 x 20 mm | 20 | p c s | 10069888 | The Marine Transportation Fleet - "J. Hashimov" |
| 67 | Fine wire fuse T3.15AL250V, 250 V, 3.15 A, 5 x 20 mm | 20 | p c s | 10069888 | The Marine Transportation Fleet - "J. Hashimov" |
| 68 | Induction sensor LM30-3015PA, 6 - 36 V DC, 200 mA. PNP, 0 - 15 mm, IP67 | 2 | p c s | 10070611 | The Marine Transportation Fleet - "Mercury-1" |
| 69 | Automatic tripping circuit breaker 1 x 50 A, 220 V, 6kA C Siemens 5SL6150-7 | 1 | p c s | 10070792 | The Marine Transportation Fleet - "Shah Ismail Khatai" |
| 70 | Relay (complete with socket), RI13, RS - 72500, 24 V, 50 Hz | 5 | p c s | 10070978 | The Caspian Sea Oil Fleet - Shamkhi |
| 71 | Pressure alert СДК-60, 24 V DC / 24 V AC, alert 1= 50-100 mmc.c, alert 2 = 1000 ± 150 - 300 mm cc | 8 | p c s | 10070978 | The Caspian Sea Oil Fleet - Shamkhi |

**Payment condition will be accepted "on actual basis" only. Different kind of payment condition proposal offering advance payment will be excluded. Certificate of origin and conformity for the supplied goods is required.**

**Only DDP shall be accepted as a delivery term form local entities. Price offers shall be accepted in manats. Other conditions shall not be accepted.**

**For technical questions please contact :**

Emil Hasanov - ASCO Procurement Department Senior procurement specialist

**T:**+994 504220011

**E-mail:** : emil.hasanov@asco.az

Due diligence shall be performed in accordance with the Procurement Guidelines of ASCO prior to the conclusion of the purchase agreement with the winner of the bidding.

 The company shall enter through this link http: //asco.az/sirket/satinalmalar/podratcilarin-elektron-muraciet-formasi// to complete the special form or submit the following documents:

* Articles of Association of the company (all amendments and changes including)
* An extract from state registry of commercial legal entities (such extract to be issued not later than last 1 month)
* Information on the founder in case if the founder of the company is a legal entity
* Certificate of Tax Payer`s Identification Number
* Audited accounting balance sheet or tax declaration (depending on the taxation system) / reference issued by taxation bodies on non-existence of debts for tax
* Identification card of the legal representative
* Licenses necessary for provision of the relevant services / works (if any)

No agreement of purchase shall be concluded with the company which did not present the above-mentioned documents or failed to be assessed positively as a result of the due diligence performed and shall be excluded from the bidding!